TENDER SCHEDULES

Tender Break-Up

I / We, the undersigned hereby tender for the supply, delivery, installation, commissioning and testing of the Hydraulic Services Installation associated with the ANU Student Accommodation project in accordance with the preliminaries prepared by Nettle Tribe Architects, the Builder and the design drawings and specification prepared by Sellick Consultants.

Itemised Lump Sum Tender Price:

Fixed Price

- Sanitary plumbing and drainage	$............................

- Stormwater plumbing and drainage	$............................

- Domestic cold water supply	$............................

- Domestic hot water supply	$............................

- Fire hose reel system	$............................

- Fire hydrant service	$............................

- Natural gas supply	$............................

- Sanitary, fixtures, fittings and tapware	$............................

- Preparation of commissioning, inspection and test plans	$............................

- Fire Integrity Sub-Consultant fees and charges	$............................

- Authority fees and charges	$............................

- Surveyor for work as executed verification	$............................

- Work as executed documentation	$............................

- Operation and maintenance manuals	$............................

- Defects period maintenance	$............................

- 12-month commissioning building tuning (min quarterly intervals)	$............................

- Final recommissioning after 12 months of operation	$............................

- Other (specify)		$............................

- Other (specify)		$............................

- Other (specify)		$............................

SUBTOTAL	$............................

GST	$............................

TOTAL	$..........................

Total price (in words) ……………………………………………………………...................................................

I / We unconditionally guarantee the performance of the installation and completion of the works in accordance with this specification and accompanying drawings.

Name: __________________________				Signature: ___________________

Witness: __________________________			Date: ___________________

SCHEDULE OF RATES

Provide rates for the following, including in position as per specification:

| EXCAVATION | $ |
| --- | --- |
| Excavation – other than rock /m3 |  |
| Excavation – in rock /m3 |  |

| STORMWATER DRAINAGE | $ |
| --- | --- |
| 300mm Black Max pipe 1 metre deep |  |
| 300mm Black Max pipe 1.5 metres deep |  |
| 300mm Black Max pipe 2 metres deep |  |
| 300mm Black Max pipe 3 metres deep |  |
| 225mm Black Max pipe 1 metre deep |  |
| 225mm Black Max pipe 2 metre deep |  |
| 225mm Black Max pipe 3 metre deep |  |
| 225 mm x 90 Black Max bend |  |
| 225 mm x 45 Black Max bend |  |
| 225mm x 225mm Black Max junction |  |
| 150mm uPVC pipe 1 metre deep |  |
| 150mm uPVC pipe 2 metre deep |  |
| 150mm uPVC pipe 3 metre deep |  |
| 150mm x90 uPVC bend |  |
| 150mm x 150mm uPVC junction |  |
| 100mm uPVC pipe 1 metre deep |  |
| 100mm uPVC pipe 2 metre deep |  |
| 100mm uPVC pipe 3 metre deep |  |
| 100mm x90 uPVC bend |  |
| 100mm x 100mm HDPE junction |  |
| 600 x 600 x 600d precast concrete HD grated pit |  |
| 600 x 600 x 900d precast concrete HD grated pit |  |
| 900 x 900 x 900d precast concrete HD grated pit |  |
| 900 x 900 x 1200d precast concrete HD grated pit |  |

| SEWER DRAINAGE | $ |
| --- | --- |
| 150mm uPVC pipe 1 metre deep |  |
| 150mm uPVC pipe 2 metres deep |  |
| 150mm uPVC pipe 3 metres deep |  |
| 150mm x 90 uPVC bend |  |
| 150mm x 45 uPVC junction |  |
| 150mm x 150mm x 45 uPVC junction |  |
| 150mm x 100mm x 45 uPVC junction |  |
| 150mm overflow gully assembly |  |
| 100mm overflow gully assembly |  |
| SEWER DRAINAGE continued | $ |
| 100mm uPVC pipe 1 metre deep |  |
| 100mm uPVC pipe 2 metres deep |  |
| 100mm uPVC pipe 3 metres deep |  |
| 100mm x 90 uPVC bend |  |
| 100mm x 100mm uPVC junction |  |
| 110mm HDPE pipe 1 metre deep |  |
| 110mm HDPE pipe 2 metre deep |  |
| 110mm HDPE pipe 3 metre deep |  |
| 110mm HDPE bend |  |
| Sewer manhole to 1m deep |  |
| Sewer manhole to 2m deep |  |
| Sewer manhole to 3m deep |  |

| SANITARY PLUMBING | $ |
| --- | --- |
| 100mm uPVC pipe/metre |  |
| 100mm uPVC bend |  |
| 100mm uPVC junction |  |
| 100mm x 65mm uPVC junction |  |
| 100mm x 50mm uPVC junction |  |
| 100mm uPVC test gate |  |
| 100mm uPVC expansion joint |  |
| 100mm x 65mm floor waste and chrome plated brass grating |  |
| 100mm x 50mm floor waste and chrome plated brass grating |  |
| 100mm plant room waste with 100mm trap |  |
| 100mm vent cowl complete with flashing |  |
| 100mm fire collar for pipe |  |
| 100mm stack air admittance valve |  |
| 100mm disconnecting trap |  |
| 100mm fire collar for floor waste |  |
| Sound lag / metre for 100mm uPVC |  |
| 65mm uPVC pipe/metre |  |
| 65mm uPVC bend |  |
| 65mm uPVC junction |  |
| 65mm uPVC expansion joint |  |
| 65mm Fire collar |  |
| 50mm uPVC pipe/metre |  |
| 50mm uPVC bend |  |
| 50mm uPVC junction |  |
| 50mm uPVC expansion joint |  |
| 50mm fixture trap |  |
| 50mm cowl complete with flashing |  |
| 50mm Fire collar |  |
| SANITARY PLUMBING continued | $ |
| Branch line air admittance valve |  |
| 40mm uPVC pipe/metre |  |
| 40mm uPVC bend |  |
| 40mm fixture trap |  |
| 40mm Fire collar |  |

| STORMWATER PLUMBING | $ |
| --- | --- |
| Siphonic roof outlet |  |
| 110mm HDPE pipe per metre |  |
| 110mm HDPE bend |  |
| 110mm HDPE junction |  |
| 110mm Fire collar |  |
| Sound lag / metre for 110mm HDPE |  |
| 90mm HDPE pipe per metre |  |
| 90mm HDPE bend |  |
| 90mm HDPE junction |  |
| 90mm Fire collar |  |
| Sound lag / metre for 90mm HDPE |  |
| 75mm HDPE pipe/metre |  |
| 75mm HDPE bend |  |
| 75mm HDPE junction |  |
| 75mm fire collar |  |
| Sound lag / metre for 75mm HDPE |  |
| 63mm HDPE pipe/metre |  |
| 63mm HDPE bend |  |
| 63mm HDPE junction |  |
| 63mm fire collar |  |
| Sound lag / metre for 63mm HDPE |  |
| 50mm HDPE pipe/metre |  |
| 50mm HDPE bend |  |
| 50mm HDPE junction |  |
| 50mm fire collar |  |
| Sound lag / metre for 50mm HDPE |  |
| 40mm HDPE pipe/metre |  |
| 40mm HDPE bend |  |
| 40mm HDPE junction |  |
| 40mm fire collar |  |
| Sound lag / metre for 40mm HDPE |  |
| 100mm cast iron roof outlet |  |
| 100mm uPVC pipe/metre |  |
| 100mm uPVC bend |  |
| 100mm uPVC junction |  |
| 100mm uPVC test gate |  |
| 100mm uPVC expansion joint |  |
| 100mm fire collar |  |
| Sound lag / metre for 100mm uPVC |  |

| COLD WATER SERVICE | $ |
| --- | --- |
| 160mm PE pipe/metre |  |
| 160mm PE tee |  |
| 160mm PE bend |  |
| 110mm PE pipe/metre |  |
| 110mm PE tee |  |
| 110mm PE bend |  |
| 100mm copper pipe/metre |  |
| 100mm copper tee |  |
| 100mm copper bend |  |
| 100mm control valve |  |
| 80mm copper pipe/metre |  |
| 80mm copper tee |  |
| 80mm copper bend |  |
| 65mm copper pipe/metre |  |
| 65mm copper tee |  |
| 65mm copper bend |  |
| 65mm control valve |  |
| 50mm copper pipe/metre |  |
| 50mm copper tee |  |
| 50mm copper bend |  |
| 50mm control valve |  |
| 50mm gate valve |  |
| 50mm check valve |  |
| 50mm backflow prevention valve |  |
| 40mm copper pipe/metre |  |
| 40mm copper tee |  |
| 40mm copper bend |  |
| 40mm gate valve |  |
| 40mm backflow prevention valve |  |
| 40mm pressure limiting valve |  |
| 32mm copper pipe/metre including all bends, tees etc |  |
| 32mm gate valve |  |
| 32mm backflow prevention valve |  |
| 32mm pressure limiting valve |  |
| 25mm copper pipe/metre including all bends, tees etc |  |
| 25mm gate valve |  |
| 25mm backflow prevention valve |  |
| COLD WATER SERVICE continued | $ |
| 25mm pressure limiting valve |  |
| 20mm copper pipe/metre including all bends, tees etc |  |
| 20mm gate valve |  |
| 15mm copper pipe/metre including all bends, tees etc |  |
| 15mm isolation valve |  |
| 20mm external hose tap |  |

| HOT WATER SERVICE | $ |
| --- | --- |
| 100mm lagged copper pipe/metre |  |
| 65mm lagged copper pipe/metre |  |
| 50mm lagged copper pipe/metre |  |
| 40mm lagged copper pipe/metre |  |
| 32mm lagged copper pipe/metre |  |
| 25mm lagged copper pipe/metre |  |
| 20mm lagged copper pipe/metre |  |
| 15mm lagged copper pipe/metre |  |
| 100mm gate valve and union |  |
| 65mm gate valve and union |  |
| 50mm gate valve and union |  |
| 40mm gate valve and union |  |
| 32mm gate valve and union |  |
| 25mm gate valve and union |  |
| 20mm gate valve and union |  |
| 15mm balancing valve |  |
| 25mm Thermostatic mixing valve |  |
| 20mm Thermostatic mixing valve |  |
| 15mm Thermostatic mixing valve |  |
| 20mm Tempering valve |  |
| 15mm Tempering valve |  |

| GAS SERVICE | $ |
| --- | --- |
| 100mm copper pipe/metre |  |
| 80mm copper pipe/metre |  |
| 65mm copper pipe/metre |  |
| 50mm copper pipe/metre |  |
| 40mm copper pipe/metre |  |
| 32mm copper pipe/metre |  |
| 25mm copper pipe/metre |  |
| 20mm copper pipe/metre |  |
| 15mm copper pipe/metre |  |
| 100mm Ball valve |  |
| GAS SERVICE Continued | $ |
| 80mm Ball valve |  |
| 65mm Ball valve |  |
| 50mm Ball valve |  |
| 40mm Ball valve |  |
| 32mm Ball valve |  |
| 25mm Ball valve |  |
| 20mm Ball valve |  |
| 15mm Ball valve |  |
| FIRE HYDRANT SERVICE | $ |
| 150mm GMS pipe/metre |  |
| 150mm bend |  |
| 150mm x 150mm GMS tee |  |
| 150mm x 100mm GMS reducing bush |  |
| 150mm monitored control valve |  |
| 150mm check valve |  |
| 100mm GMS pipe/metre |  |
| 100mm GMS elbow |  |
| 100mm GMS tee |  |
| 100mm monitored control valve |  |
| 100mm check valve |  |
| 65mm fire hydrant valve |  |
| 36 metre fire hose reel |  |
| 50m metre fire hose reel |  |

| DRILLED PENETRATIONS | $ |
| --- | --- |
| 150mm Thickness Concrete Slab |  |
| 50mm diameter |  |
| 65mm diameter |  |
| 80mm diameter |  |
| 100mm diameter |  |
| 150mm diameter |  |
| 200mm diameter |  |
| 250mm diameter |  |
| 300mm diameter |  |
| 200mm Thickness Concrete Slab |  |
| 50mm diameter |  |
| 65mm diameter |  |
| 80mm diameter |  |
| 100mm diameter |  |
| DRILLED PENETRATIONS Continued | $ |
| 200mm Thickness Concrete Slab |  |
| 150mm diameter |  |
| 200mm diameter |  |
| 250mm diameter |  |
| 300mm diameter |  |

Name: __________________________				Signature: ___________________

Witness: __________________________			Date: ___________________